{"text_format":"2","workbook":"xls","n_sheets":3,"sheets":["Sheet1","Sheet2","Sheet3"],"not_rendered":{"charts":1,"images":0,"macros":0,"external_links":1,"defined_names":0,"comments":1,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"Sheet1","index":0,"n_rows":112,"n_cols":9,"rows_kept":112,"cut":false,"hidden":false,"merged":[[4,2,4,3],[5,3,6,3]],"flags":["formulas_cached_only"]}
[]
[null,"Attenuation vs Frequency for a [SIN(PI*F)/(PI*F)]^3 filter.  "]
[null,"Frequencies are listed as a proportion of the converter sample rate, and attenuation is in dB."]
[]
[null,null,"Attenuation"]
[null,null,"Envelope","  Gain (dB)"]
[null,"Frequency","  -60·LOG(πF)"]
[null,0,null,0]
[null,0.05,null,-0.10724614041785734]
[null,0.1,null,-0.4300505165983047]
[null,0.15,null,-0.9716620140642598]
[null,0.2,null,-1.7376709842448421]
[null,0.2615,null,-2.9999954190515705]
[null,0.3,null,-3.978808970740537]
[null,0.35,null,-5.480221980020106]
[null,0.4,null,-7.260212310638197]
[null,0.45,null,-9.344547566905039]
[null,0.5,null,-11.767192625211583]
[null,0.55,null,-14.573558111732027]
[null,0.6,null,-17.825687857452145]
[null,0.65,null,-21.610940723021244]
[null,0.7,-20.53487476590586,-26.05741609618223]
[null,0.75,-22.33266816855246,-31.36356804648867]
[null,0.8,-24.014391584567075,-37.86127047863479]
[null,0.85,-25.594127907908018,-46.17132203455935]
[null,0.9,-27.08354293140995,-57.68460111585528]
[null,0.95,-28.49240868238132,-76.83246226507545]
[null,0.96,-28.76526634742456,-82.88129175885362]
[null,0.97,-29.035296421025144,-90.61761714704119]
[null,0.98,-29.30255690660015,-101.4289124873238]
[null,0.99,-29.567104040903452,-119.74239847173739]
[null,1,-29.828992365050457,-593.0488174218465]
[null,1.01,-30.08827479200901,-120.26356854258178]
[null,1.02,-30.34500267076551,-102.47135791169448]
[null,1.03,-30.599225847360792,-92.18154634722049]
[null,1.04,-30.85099272297728,-84.9670179651815]
[null,1.05,-31.100350309246743,-79.44040375696505]
[null,1.1,-32.31255347454396,-62.91361159319432]
[null,1.2,-34.579867127907946,-48.426745992551275]
[null,1.3,-36.66559350346066,-42.18813481820496]
[null,1.4,-38.59667450574474,-39.90429496818166]
[null,1.5,-40.394467908391334,-40.394467908391334]
[null,1.6,-42.07619132440595,-43.383811797262105]
[null,1.7,-43.65592764774689,-49.178468985789294]
[null,1.8,-45.14534267124882,-58.99222158002873]
[null,1.9,-46.55420842222019,-77.15526663956292]
[null,1.95,-47.23106904680154,-95.57112269698356]
[null,1.96,-47.36435664643902,-101.48038214248051]
[null,1.97,-47.49696593474604,-109.07928677384037]
[null,1.98,-47.62890378074232,-119.75525953136312]
[null,1.99,-47.76017694963286,-137.9354717205974]
[null,2,-47.89079210488933,-593.0488174218465]
[null,2.01,-48.02075581027979,-138.19604922072273]
[null,2.02,-48.150074531847885,-120.27642960287935]
[null,2.03,-48.27875463984323,-109.86107502662512]
[null,2.04,-48.40680241060438,-102.52282756819619]
[null,2.05,-48.53422402839571,-96.87427740862626]
[null,2.1,-49.16215004908562,-79.7632081348385]
[null,2.2,-50.37435321438283,-64.22123206431394]
[null,2.3,-51.53266252610603,-57.0552038330843,{"$nulls":4},"  "]
[null,2.4,-52.641666867746814,-53.94928732671067]
[null,2.5,-53.70539288537272,-53.70539288537272]
[null,2.6,-54.72739324329954,-56.03501371962877]
[null,2.7,-55.7108182145897,-61.23335956039818]
[null,2.8,-56.658474245583605,-70.50535316907565]
[null,2.9,-57.57287223898782,-88.17393048922801]
[null,2.95,-58.01831332374024,-106.35836704141047]
[null,2.96,-58.10649502858677,-112.22252060924049]
[null,2.97,-58.194379324083194,-119.7767002762557]
[null,2.98,-58.28196820962577,-130.4083241301439]
[null,2.99,-58.36926366451624,-148.54455877561213]
[null,3,-58.4562676482302,-593.0488174218465]
[null,3.01,-58.54298210068105,-148.7182751709934]
[null,3.02,-58.6294089424795,-130.75576384361364]
[null,3.03,-58.71555007518875,-120.29787034889223]
[null,3.04,-58.801407381575686,-112.91743245455488]
[null,3.05,-58.88698272585761,-107.22703603860039]
[null,3.1,-59.31069399510682,-89.91175204796221]
[null,3.2,-60.13799106424482,-73.98486989946369]
[null,3.3,-60.939828757723696,-66.46237005693595]
[null,3.4,-61.71772738758577,-63.02534784307654]
[null,3.5,-62.473075026067,-62.473075026067]
[null,3.6,-63.207142411087695,-64.51476289089]
[null,3.7,-63.92109580907016,-69.44363716264468]
[null,3.8,-64.61600816205906,-78.4628871002633]
[null,3.9,-65.29286878664041,-95.89392706977806]
[null,3.95,-65.62481810263807,-113.9648718877962]
[null,3.96,-65.6907035205812,-119.80672918584733]
[null,3.97,-65.75642277083736,-127.33874383608804]
[null,3.98,-65.82197668947173,-137.9483327798872]
[null,3.99,-65.88736610625534,-156.06266155748185]
[null,4,-65.9525918447282,-593.0488174218465]
[null,4.01,-66.01765472226138,-156.19294745244315]
[null,4.02,-66.08255555011867,-138.20891028135617]
[null,4.03,-66.14729513351702,-127.72961529414184]
[null,4.04,-66.21187427168675,-120.32789926005356]
[null,4.05,-66.27629375793057,-114.61634700318544]
[null,4.1,-66.59602376823459,-97.19708178819266]
[null,4.2,-67.2239497889245,-81.07082860943117]
[null,4.3,-67.83709969982564,-73.35964099127186]
[null,4.4,-68.43615295422171,-69.74377340623938]
[null,4.5,-69.02174319157109,-69.02174319157109]
[null,4.6,-69.59446226594491,-70.90208274922027]
[null,4.7,-70.15486384119352,-75.67740520253406]
[null,4.8,-70.7034666075857,-84.55034556050212]
[null,4.9,-71.24075716676128,-101.84181548279653]
[null,4.95,-71.50530430106458,-119.84535815371063]
[null,4.96,-71.5578929544623,-125.67391870434086]
[null,4.97,-71.61037568905037,-133.19269686737874]
[null,4.98,-71.66275293063352,-143.78910919094707]
[null,4.99,-71.71502510245386,-161.89032089381095]
[null,5,-71.76719262521158,-593.0488174218465]

{"sheet":"Sheet2","index":1,"n_rows":0,"n_cols":0,"rows_kept":0,"cut":false,"hidden":false,"merged":[],"flags":["formulas_cached_only"]}

{"sheet":"Sheet3","index":2,"n_rows":0,"n_cols":0,"rows_kept":0,"cut":false,"hidden":false,"merged":[],"flags":["formulas_cached_only"]}